## spare pinky test
Angle | Hall reading | Angle | Hall reading
|  | 90 | 885
90 | 885 | 0 | 3685
80 | 899 | 80 | 899
70 | 925 | 70 | 925
60 | 952 | 60 | 952
50 | 991 | 50 | 991
40 | 1052 | 40 | 1052
30 | 1215 | 30 | 1215
20 | 1580 | 20 | 1580
10 | 1885 | 10 | 1885
0 | 3685

## actual pinky
Hall reading | Angle | Hall reading minus metal ruller offset | csv angle | csv hall | Reading is affected by metal protractor on other side, but not if the angle is over 60 deg | Angle | Hall reading
[5 empty] | Appears to be within +/- 5 at the worst, prehaps +/-7 when a lsightly magnetic metal objetc is placed in the gap (spare finger motor) | 90 | 885
854 | 0 | 854 | {0, 5, 10, 15, 20, 25, 30, 35, 40, 45, 50, 55, 60, 65, 70, 75, 80, 85, 86.5, 99999} | {854, 874, 884, 902, 919, 941, 966, 1002, 1042, 1096, 1152, 1270, 1384, 1564, 1892, 2264, 2980, 4004, 4014, 99999} |  | 0 | 3685
874 | 5 | 869 | Metal Ruler offset |  |  | 80 | 899
884 | 10 | 879 | 5 | subtracted the measued change between metal nad plastic ruler at 0 degrees (dont have a plastic protractor) |  | 70 | 925
902 | 15 | 897 | plastic rule for angle 0 |  |  | 60 | 952
919 | 20 | 914 |  |  | Measurements are all of a sudden way differnet the next day - depends on power connection | 50 | 991
941 | 25 | 936 |  |  |  | 40 | 1052
966 | 30 | 961 |  |  |  | 30 | 1215
1002 | 35 | 997 |  |  |  | 20 | 1580
1042 | 40 | 1037 |  |  |  | 10 | 1885
1096 | 45 | 1091
1152 | 50 | 1147
1270 | 55 | 1265
1384 | 60 | 1379
1564 | 65 | 1559
1892 | 70 | 1887
2264 | 75 | 2259
2980 | 80 | 2975
4004 | 85 | 3999
4014 | 86.5 | 4009

## ring 2
Hall reading | Angle | Hall reading minus metal ruller offset | csv angle | csv hall | Reading is affected by metal protractor on other side, but not if the angle is over 60 deg | Angle | Hall reading
[5 empty] | Appears to be within +/- 5 at the worst, prehaps +/-7 when a lsightly magnetic metal objetc is placed in the gap (spare finger motor) | 90 | 885
852 | 0 | 852 | {0, 5, 10, 15, 20, 25, 30, 35, 40, 45, 50, 55, 60, 65, 70, 75, 80, 85, 87, 99999} | {852, 864, 872, 886, 901, 916, 937, 966, 997, 1037, 1098, 1152, 1247, 1382, 1562, 1802, 2095, 2494, 2766, 99999} |  | 0 | 3685
864 | 5 | 857 | Metal Ruler offset |  |  | 80 | 899
872 | 10 | 865 | 7 |  |  | 70 | 925
886 | 15 | 879 | plastic rule for angle 0 |  |  | 60 | 952
901 | 20 | 894 |  |  |  | 50 | 991
916 | 25 | 909 |  |  |  | 40 | 1052
937 | 30 | 930 |  |  |  | 30 | 1215
966 | 35 | 959 |  |  |  | 20 | 1580
997 | 40 | 990 |  |  |  | 10 | 1885
1037 | 45 | 1030
1098 | 50 | 1091
1152 | 55 | 1145
1247 | 60 | 1240
1382 | 65 | 1375
1562 | 70 | 1555
1802 | 75 | 1795
2095 | 80 | 2088
2494 | 85 | 2487
2766 | 87 | 2759

## middle 2
Hall reading | Angle | Hall reading minus metal ruller offset | csv angle | csv hall | Reading is affected by metal protractor on other side, but not if the angle is over 60 deg | Angle | Hall reading
[5 empty] | Appears to be within +/- 5 at the worst, prehaps +/-7 when a lsightly magnetic metal objetc is placed in the gap (spare finger motor) | 90 | 885
883 | 0 | 883 | {0, 5, 10, 15, 20, 25, 30, 35, 40, 45, 50, 55, 60, 65, 70, 75, 80, 85, 88, 99999} | {883, 901, 915, 932, 950, 968, 1002, 1045, 1092, 1164, 1244, 1356, 1487, 1672, 2015, 2410, 3154, 3935, 4022, 99999} |  | 0 | 3685
901 | 5 | 894 | Metal Ruler offset |  |  | 80 | 899
915 | 10 | 908 | 7 |  |  | 70 | 925
932 | 15 | 925 | plastic rule for angle 0 |  |  | 60 | 952
950 | 20 | 943 |  |  |  | 50 | 991
968 | 25 | 961 |  |  |  | 40 | 1052
1002 | 30 | 995 |  |  |  | 30 | 1215
1045 | 35 | 1038 |  |  |  | 20 | 1580
1092 | 40 | 1085 |  |  |  | 10 | 1885
1164 | 45 | 1157
1244 | 50 | 1237
1356 | 55 | 1349
1487 | 60 | 1480
1672 | 65 | 1665
2015 | 70 | 2008
2410 | 75 | 2403
3154 | 80 | 3147
3935 | 85 | 3928
4022 | 88 | 4015

## Index 2
Hall reading | Angle | Hall reading minus metal ruller offset | csv angle | csv hall | Reading is affected by metal protractor on other side, but not if the angle is over 60 deg | Angle | Hall reading
[5 empty] | Appears to be within +/- 5 at the worst, prehaps +/-7 when a lsightly magnetic metal objetc is placed in the gap (spare finger motor) | 90 | 885
896 | 0 | 896 | {0, 5, 10, 15, 20, 25, 30, 35, 40, 45, 50, 55, 60, 65, 70, 75, 80, 85, 89, 99999} | {896, 914, 924, 940, 958, 974, 1005, 1036, 1079, 1125, 1186, 1304, 1410, 1586, 1827, 2132, 2580, 3307, 3580, 99999} |  | 0 | 3685
914 | 5 | 907 | Metal Ruler offset |  |  | 80 | 899
924 | 10 | 917 | 7 |  |  | 70 | 925
940 | 15 | 933 | plastic rule for angle 0 |  |  | 60 | 952
958 | 20 | 951 |  |  |  | 50 | 991
974 | 25 | 967 |  |  |  | 40 | 1052
1005 | 30 | 998 |  |  |  | 30 | 1215
1036 | 35 | 1029 |  |  |  | 20 | 1580
1079 | 40 | 1072 |  |  |  | 10 | 1885
1125 | 45 | 1118
1186 | 50 | 1179
1304 | 55 | 1297
1410 | 60 | 1403
1586 | 65 | 1579
1827 | 70 | 1820
2132 | 75 | 2125
2580 | 80 | 2573
3307 | 85 | 3300
3580 | 89 | 3573

## Thumb 2
Hall reading | Angle | Hall reading minus metal ruller offset | csv angle | csv hall | Reading is affected by metal protractor on other side, but not if the angle is over 60 deg | Angle | Hall reading
[5 empty] | Appears to be within +/- 5 at the worst, prehaps +/-7 when a lsightly magnetic metal objetc is placed in the gap (spare finger motor) | 90 | 885
956 | 0 | 956 | {0, 5, 10, 15, 20, 25, 30, 35, 40, 45, 50, 55, 60, 65, 70, 75, 80, 85, 89.5, 99999} | {956, 971, 982, 998, 1010, 1032, 1056, 1080, 1124, 1164, 1242, 1314, 1426, 1586, 1806, 2035, 2562, 3164, 3564, 99999} |  | 0 | 3685
971 | 5 | 964 | Metal Ruler offset |  |  | 80 | 899
982 | 10 | 975 | 7 |  |  | 70 | 925
998 | 15 | 991 | plastic rule for angle 0 |  |  | 60 | 952
1010 | 20 | 1003 |  |  |  | 50 | 991
1032 | 25 | 1025 |  |  |  | 40 | 1052
1056 | 30 | 1049 |  |  |  | 30 | 1215
1080 | 35 | 1073 |  |  |  | 20 | 1580
1124 | 40 | 1117 |  |  |  | 10 | 1885
1164 | 45 | 1157
1242 | 50 | 1235
1314 | 55 | 1307
1426 | 60 | 1419
1586 | 65 | 1579
1806 | 70 | 1799
2035 | 75 | 2028
2562 | 80 | 2555
3164 | 85 | 3157
3564 | 89.5 | 3557

## thumb remeasure
Hall reading | Angle 2nd measure | Hall reading minus metal ruller offset | csv angle | csv hall | Reading is affected by metal protractor on other side, but not if the angle is over 60 deg |  | Angle | Hall reading
[5 empty] | Appears to be within +/- 5 at the worst, prehaps +/-7 when a lsightly magnetic metal objetc is placed in the gap (spare finger motor) |  | 90 | 885
880 | 0 | 880 | {0, 5, 10, 15, 20, 25, 30, 35, 40, 45, 50, 55, 60, 65, 70, 75, 80, 85, 89.5, 99999} | {880, 909.0697674, 930, 955, 980, 1025, 1070, 1110, 1150, 1230, 1310, 1445, 1580, 1705, 1830, 2130, 2430, 3025, 3620, 99999} |  |  | 0 | 3685
909.0698 | 5 | 902.0698 | Metal Ruler offset |  |  |  | 80 | 899
930 | 10 | 923 | 7 |  |  | interpolated values | 70 | 925
955 | 15 | 948 | plastic rule for angle 0 |  |  |  | 60 | 952
980 | 20 | 973 |  |  |  |  | 50 | 991
1025 | 25 | 1018 |  |  |  |  | 40 | 1052
1070 | 30 | 1063 |  |  |  |  | 30 | 1215
1110 | 35 | 1103 |  |  |  |  | 20 | 1580
1150 | 40 | 1143 |  |  |  |  | 10 | 1885
1230 | 45 | 1223
1310 | 50 | 1303
1445 | 55 | 1438
1580 | 60 | 1573
1705 | 65 | 1698
1830 | 70 | 1823
2130 | 75 | 2123
2430 | 80 | 2423
3025 | 85 | 3018
3620 | 89.5 | 3613

## pot base thumb
Hall reading | Angle | reading | csv angle | csv hall | Reading is affected by metal protractor on other side, but not if the angle is over 60 deg | Angle | Hall reading
[5 empty] | Appears to be within +/- 5 at the worst, prehaps +/-7 when a lsightly magnetic metal objetc is placed in the gap (spare finger motor) | 90 | 885
| 0 | 2050 | {0, 31, 57, -20, 20, 25, 30, 35, 40, 45, 50, 55, 60, 65, 70, 75, 80, 85, 89.5, 99999} | {, 99999} |  | 0 | 3685
| 31 | 2337 | Metal Ruler offset |  |  | 80 | 899
| 57 | 2667 | 7 |  |  | 70 | 925
| -20 | 1830 | plastic rule for angle 0 |  |  | 60 | 952
| 20 | 2226 |  |  |  | 50 | 991
| 25 |  |  |  |  | 40 | 1052
| 30 |  |  |  |  | 30 | 1215
| 35 |  |  |  |  | 20 | 1580
| 40 |  |  |  |  | 10 | 1885
45
50
55
60
65
70
75
80
85
89.5

## pot tilt thumb
Angle reading | Angle from palm base | reading | csv angle | csv hall | Reading is affected by metal protractor on other side, but not if the angle is over 60 deg | Angle | Hall reading
[5 empty] | Appears to be within +/- 5 at the worst, prehaps +/-7 when a lsightly magnetic metal objetc is placed in the gap (spare finger motor) | 90 | 885
16.7 | 9.6 | 2228 | {9.6, 23, 31.6, 50.5, 60.2, 70.7, 81.3, 92.6, 101.7, 45, 50, 55, 60, 65, 70, 75, 80, 85, 89.5, 99999} | {16.7, 30.1, 38.7, 57.6, 67.3, 77.8, 88.4, 99.7, 108.8, 99999} | Angle offset | 0 | 3685
30.1 | 23 | 2085 |  |  | 7.1 | 80 | 899
38.7 | 31.6 | 1975 |  |  |  | 70 | 925
57.6 | 50.5 | 1776 |  |  |  | 60 | 952
67.3 | 60.2 | 1640 |  |  |  | 50 | 991
77.8 | 70.7 | 1558 |  |  |  | 40 | 1052
88.4 | 81.3 | 1420 |  |  |  | 30 | 1215
99.7 | 92.6 | 1280 |  |  |  | 20 | 1580
108.8 | 101.7 | 1170 |  |  |  | 10 | 1885
45
50
55
60
65
70
75
80
85
89.5

## Rest of pots
Pot | Zero deg reading | deg offset (0.09 ratio) | csv angle | csv hall | Reading is affected by metal protractor on other side, but not if the angle is over 60 deg | Angle | Hall reading
Index | 1574 | -141.66 |  |  | Appears to be within +/- 5 at the worst, prehaps +/-7 when a lsightly magnetic metal objetc is placed in the gap (spare finger motor) | 90 | 885
middle | 1524 | -137.16 | {1524, 1544, 1640, 99999} | {middle, ring, pinky, 99999} | Angle offset | 0 | 3685
ring | 1544 | -138.96 |  |  | 7.1 | 80 | 899
pinky | 1640 | -147.6 |  |  |  | 70 | 925
[6 empty] | 60 | 952
[6 empty] | 50 | 991
[6 empty] | 40 | 1052
[6 empty] | 30 | 1215
[6 empty] | 20 | 1580
[6 empty] | 10 | 1885